## __readMe
This workbook contains the specification of the data reconciliation POC
Conventions
Character | Context | Meaning
__ | worksheet title | meta information sheet
_ | worksheet title | data for future tests
Test 1 Colour Schemes
WMS-Space sheet is added

## WMS-Role
Nullable | FALSE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
| Role UID | Entity Number | Functional Description | Parent Entity | Role Status | Location | Criticality
| 1181 | THX-DIG | clarifier system |  | Active | Facility Ground, Primary Digesters | 3
| 1182 | THX-DIG-BU-5100 | Burner,Waste Gas, Building XX | 1181 | Active | Facility Ground, Primary Digesters, Waste Gas Burners | 3
| 1183 | THX-DIG-CP-5100 | Control Panel,BU-5100,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1184 | THX-NGS-CP-5150 | Control Panel,Combustion,Waste Gas Burner Pilot Panel CP-5100 | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1185 | THX-NGS-CH-5100 | Chamber,Combustion,CP-5150,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1186 | THX-NGS-BL-5100 | Blower,Centrifugal,Pilot Combustion,CP-5150,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1187 | THX-DIG-FX-5100 | Flame Arrestor,Digester Gas,BU-5100,Low Pressure,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1188 | THX-DIG-V-5104 | Valve,Thermal,Isolation,FX-5100,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1189 | THX-DIG-PIT-5103 | Transmitter,Pressure,Digester Gas,BU-5100,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1190 | THX-DIG-PIT-5104 | Transmitter,Pressure,Digester Gas,BU-5100,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1191 | THX-DIG-V-5103 | Valve,Ball,Actuated,Inlet,BU-5100,Low Pressure,Building XX | 1182 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 4
| 1192 | THX-DIG-BU-5200 | Burner,Waste Gas, Building XX | 1181 | Active | Facility Ground, Primary Digesters, Waste Gas Burners | 3
| 1193 | THX-DIG-CP-5200 | Control Panel,BU-5200,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1194 | THX-NGS-CP-5250 | Control Panel,Combustion,Waste Gas Burner Pilot Panel CP-5200 | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1195 | THX-NGS-CH-5200 | Chamber,Combustion,CP-5250,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1196 | THX-NGS-BL-5200 | Blower,Centrifugal,Pilot Combustion,CP-5250,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Outside, Lower Level, East Wall | 3
| 1197 | THX-DIG-FX-5200 | Flame Arrestor,Digester Gas,BU-5200,Low Pressure,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1198 | THX-DIG-V-5204 | Valve,Thermal,Isolation,FX-5200,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1199 | THX-DIG-PIT-5203 | Transmitter,Pressure,Digester Gas,BU-5200,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1200 | THX-DIG-PIT-5204 | Transmitter,Pressure,Digester Gas,BU-5200,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
| 1201 | THX-DIG-V-5203 | Valve,Ball,Actuated,Inlet,BU-5200,Low Pressure,Building XX | 1192 | Active | Facility Ground, Primary Digesters, Waste Gas Burners, Drip Trap Room | 3
In the future, spatial location will be a class of entity, and we would see the primary key here instead
"Entity Number" and "Role number" are equivalent terms
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Rule: not nullable unless at the very top of the hierarchy

## WMS-Space
Nullable | FALSE | FALSE | FALSE |  | TRUE
| Space UID | Space Number | Space Description | Space Classification | Parent Space UID
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Rule: not nullable unless at the very top of the hierarchy

## WMS-Asset
Nullable | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
| Asset UID | Asset Number | Asset Serial | Asset Class | Source | State | Serving Role | Spec-Horsepower | Spec-1 | Spec-2 | Spec-3 | Spec-4 | Spec-5 | Spec-6 | Spec-7 | Spec-8 | Spec-9 | Spec-10 | Spec-11 | Spec-12 | Spec-13 | Spec-14 | Spec-15 | Spec-16 | Spec-17 | Spec-18 | Spec-19 | Spec-20 | Spec-21
| 93620 | A05860 | se-rial-num-ber-0101 | Burner,Waste Gas | WMS | Active Service | 1182
| 93621 | A05861 | se-rial-num-ber-0102 | Control Panel | WMS | Active Service | 1183
| 93622 | A05862 | se-rial-num-ber-0103 | Control Panel | WMS | Active Service | 1184
| 93623 | A05863 | se-rial-num-ber-0104 | Chamber,Combustion | WMS | Active Service | 1185
| 93624 | A05864 | se-rial-num-ber-0105 | Blower,Centrifugal | WMS | Active Service | 1186
| 93625 | A05865 | se-rial-num-ber-0106 | Flame Arrestor,Digester Gas | WMS | Active Service | 1187
| 93626 | A05866 | se-rial-num-ber-0107 | Valve,Thermal,Isolation | WMS | Active Service | 1188
| 93627 | A05867 | se-rial-num-ber-0108 | Transmitter,Pressure,Digester Gas | WMS | Active Service | 1189
| 93628 | A05868 | se-rial-num-ber-0109 | Transmitter,Pressure,Digester Gas | WMS | Active Service | 1190
| 93629 | A05869 | se-rial-num-ber-0110 | Valve,Ball,Actuated | WMS | Active Service | 1191
| 93630 | A05870 | se-rial-num-ber-0111 | Burner,Waste Gas | WMS | Active Service | 1192
| 93631 | A05871 | se-rial-num-ber-0112 | Control Panel | WMS | Active Service | 1193
| 93632 | A05872 | se-rial-num-ber-0113 | Control Panel | WMS | Active Service | 1194
| 93633 | A05873 | se-rial-num-ber-0114 | Chamber,Combustion | WMS | Active Service | 1195
| 93634 | A05874 | se-rial-num-ber-0115 | Blower,Centrifugal | WMS | Active Service | 1196
| 93635 | A05875 | se-rial-num-ber-0116 | Flame Arrestor,Digester Gas | WMS | Active Service | 1197
| 93636 | A05876 | se-rial-num-ber-0117 | Valve,Thermal,Isolation | WMS | Active Service | 1198
| 93637 | A05877 | se-rial-num-ber-0118 | Transmitter,Pressure,Digester Gas | WMS | Active Service | 1199
| 93638 | A05878 | se-rial-num-ber-0119 | Transmitter,Pressure,Digester Gas | WMS | Active Service | 1200
| 93639 | A05879 | se-rial-num-ber-0120 | Valve,Ball,Actuated | WMS | Active Service | 1201
| 93640 | A05880 | se-rial-num-ber-g102 | Valve, Ball | GIS | Active Service
| 93641 | A05881 | se-rial-num-ber-g103 | Valve, Ball | GIS | Active Service
| 93642 | A05882 | se-rial-num-ber-g104 | Valve, Ball | GIS | Active Service
| 93643 | A05883 | se-rial-num-ber-g105 | Valve, Ball | GIS | Active Service
| 93644 | A05884 | se-rial-num-ber-g106 | Valve, Ball | GIS | Active Service
| 93645 | A05885 | se-rial-num-ber-g107 | Valve, Ball | GIS | Active Service
Please notice that this is the primary key of th WMS-Role table
These assets are synchronized from GIS. GIS is to be consider the authority system for their properties
For now, we can assume that these assets serve no roles

## SCADA-Alarms
Alarm UID | Time of Alarm Activation | Name of Alarm | Asset UID | Asset Number
1 |  | Ipsum lorem 1 | 93620 | A05860
1 |  | Ipsum lorem 2 | 93621 | A05861
1 |  | Ipsum lorem 3 | 93622 | A05862
1 |  | Ipsum lorem 4 | 93623 | A05863
1 |  | Ipsum lorem 5 | 93624 | A05864
1 |  | Ipsum lorem 6 | 93625 | A05865

## CBM-Condition
UID | Entity Number | Description | Condition Rating
COND-RID4 | R4 | role 4 description | 1
COND-RID5 | R5 | role 5 description | 5
COND-RID6 | R6 | role 6 description | 2
COND-RID7 | R7 | role 7 description | 3
10/6 TH:
Note: the condition is that of the asset, but it is recorded to the role. This is a common pattern